## Glossary & Information
Non-Conformance Checklist |  | Rev. 20
Tabs | What is it for?
NAIC1, 2 & 3 Lab Non-Conformance Checklist | This is used to identify and document LAB Non-Conformance issues.
NAIC4 Lab Non-Conformance Checklist
EIC Lab Non-Conformace Checklist
Logical Troubleshoot Form | This is used to identify and document any logical issues and next steps.
Rack Damage Check | This is used to identify and document damage found on Racks.
Crate Damage Check | This is used to identify and document damaged Crates.
Glossary:
APE - Associate Project Engineer
BOM - Bill of Material
Child Part (Component) - This is a Physical and Systematic sub-part. A Child device requires installing into a Main for it to be operational. Examples include: Power Supplies, Fan Modules, NIC (Network Interface Controller) Cards, Line Cards, Memory Modules, Fabric Modules, Blanks for Chassis.
DOA (Damaged/Defective On Arrival) - acronym used to describe material that does not meet expected Form, Fit, Function. Used across horizontal LAB Teams. Issues can be Physical or Technical (not discovered until POWER ON. Can be Logical or Internal components.
ENG - Lab Engineering
LED - Lab End Date
LPN - License Plate Number
LTO - Logistics Task Order
Main Part (Chassis) - This is a Physical and Systematic primary individual device. Examples include: Servers, Routers/Switches, Access Points, Laptop/Desktop/Thin Client, Kiosk, PDUs, Phones
MFG - Manfacturer, also known as OEM (Original Equipment Manufacturer)
MO - Move Order
NCT (Non-Conformance Ticket) - WWT's systematic labeling and communication tool used across vertical teams for identified Non-conformance material that requires full (MAIN) or component (CHILD) replacement.
NONCON, NC (Non-conformance) - abbreviation for the process across multiple vertical teams of identifying, troubleshooting, unpacking from Lab order, ordering & receiving replacement from OEM Vendor (RMA/RTV), and replacing Main/Child DOA devices.
OEM - Original Equipment Manufacturer
PDU - Power Distribution Unit
P/N - Part Number
PE - Project/Program Engineer
PO - Purchase Order
QTY - Quantity
RMA - Return Material Authorization
RNS - Rack and Stack Lab department.
RTV - Return to Vendor
SKU - Stock Keeping Unit
S/N - Serial Number
SO- Sales Order
SRQ - Service Request
STANDALONE Part (Accessory) - This is non-powered material that supports devices. Examples include: Power/Data Cables, Lacing Bars, Patch Panels, Physical Licenses, Optics
TAC - Technical Assitance Center (Cisco specific verbiage for OEM Support Ticket)
WMS - Warehouse Management System
Documentation References:
Product Packaging, Handling and Storage Procedure: DOC-14128
Non-Con Checklist Training: REF-473
Damaged Product Acceptance Criteria: VA-320
Cosmetic Inspection: DOC-17242
RNS Lab Material Issue Process Flow: PM-8
For Lab Departments:
L2
L3
L4

## NA1,2& NA3 Lab NonCon Checklist
Lab Non-Conformance Checklist | [8 empty] | Rev. 20
References: Please refer to Definitions & Information tab for listing and links of Documentation References. |  |  |  |  | NCT #: (to be filled out by LAB DOA Team)
Fill Out Form Completely. This completed form MUST accompany any specific additional tab forms in this document. |  |  |  |  | GICREQ # (to be filled out by LAB DOA Team)
DO NOT REMOVE ANY MATERIAL PHYSICALLY/SYSTEMATICALLY FROM NC SUPPORT LANES UNLESS YOU HAVE BEEN TOLD TO DO SO ON NCT, SRQ, Salesforce case.
Order Information (Boxes with RED triangle have notes for definitions)
Date Issue Discovered: |  | Lab Personnel: |  |  |  | Lab Lead/SUP:
Shift Issue Discovered: |  | Day Shift Representative: |  |  |  | Lab Engineering Contact: (PE/APE)
WMS ORG: |  | Program: |  |  |  | Lab Department:
Kronos/Timex Project: |  | Sales Order (SO): |  |  |  | MES Flag #
Kronos/Timex Task: |  | Work Order (LTO): |  |  |  | NC Location:
Program Manager (PM): |  |  |  |  | Order Manager (OM):
Is the issue with the MAIN device/chassis, a CHILD part/component, or STANDALONE part/accessory? | [5 empty] | Is material WWT OWNED or CONSIGNED?
Number Units Affected: |  | LPN(s): |  |  |  | Config LPN(s):
DOA Part Number(s): (Main, Child, or Standalone) | [5 empty] | DOA Serial Number(s): (even if not Serial Controlled in Oracle)
MAIN/Chassis Part Number(s): (only required if DOA part is Child/Component) |  |  | MAIN/Chassis Serial Number(s): (only required if DOA part is Child/component) |  |  | OEM (Original Equipment Manufacturer):
Vendor (If Known):
The Below fields should be filled out by the personnel creating the OEM Support (TAC) Case. (NAIC2-L4 ENG / NAIC2-L3 Technician or ENG / NAIC3 RNS Server Team or ENG)
Vendor Case Number: |  |  | Vendor RMA: |  |  | Replacement Tracking #:
The Below fields should be filled out by the personnel creating the NCT. (NAIC2 - Lab DOA Team / NAIC3 - RNS Server Team or Systematics Team)
Purchase Order (PO): |  |  | Sales Channel: | Comm - Citi (WWTUK)
Issue Type:
Check All That Apply | Reason Code |  | Explanation | [6 empty] | Issue Level
| Part Incorrect |  | Item was received incorrectly, Item inside of box is incorrect ( does not match OEM label, kitting is incorrect if supplier requirements are set by WWT, etc. | [6 empty] | 0
| Under shipment |  | Part or QTY physically delivered is less than on the packing slip, or carrier lost material, including missing accessories not listed on the packing slip. | [6 empty] | 1
| Packaging |  | Main/Child (MxCx) physical or systematic configuration does not match physical packaging | [6 empty] | 1
| Damaged Material |  | Damage indicates evident or possible damage to the contents (Refer to VA-320 / Doc-17242) | [6 empty] | 1
| Lab-Defective |  | The part doesn't boot, works intermittently or doesn't function as intended. | [6 empty] | 2 / 3
Please Fill Out the Following:
Level 0 - Wrong Part
Is Material in original OEM Packaging? |  | Was the problem observed Immediately after opening packaging and/or install? |  | Was damage WWT Induced? |  | REMINDER Pictures of Physical Damage SHOULD include: (minimum of 4 pics total) | - Damage alone (Zoom) and Damage in relation to entire part (Wide) - Any Damage to Packaging (Internal and/or External) - LPN Label on Packaging - MFG P/N and SN labels on Material - MFG P/N and SN on Packaging (if available)
Provide as much detail on the problem as possible. ( For example, When/how did this damage occur? i.e. concealed, out of the box - photos of packaging required.)
REMINDER: If the Issue Type is the Wrong Part, make sure to include photos of the part that was sent, LPN Label, and any OEM Label(s).
Level 1 - Physical Issues/Damage
Is Material in original OEM Packaging? |  | Was the problem observed Immediately after opening packaging and/or install? |  | Was damage WWT Induced? |  | REMINDER Pictures of Physical Damage SHOULD include: (minimum of 4 pics total) | - Damage alone (Zoom) and Damage in relation to entire part (Wide) - Any Damage to Packaging (Internal and/or External) - LPN Label on Packaging - MFG P/N and SN labels on Material - MFG P/N and SN on Packaging (if available)
Provide as much detail on the problem as possible. ( For example, When/how did this damage occur? i.e. concealed, out of the box - photos of packaging required.)
Level 2 - Power ON / Green Light Issues
Is Material in original OEM Packaging? |  | Is the problem repeatable? |  | Was the problem observed at first power up? |  | If Yes, Please explain what happened.
Is the issue with a MAIN device/chassis or CHILD part/component? |  |  |  | Did the failure occur during a hot swap? |  | If Yes, Please explain what happened.
Provide as much detail about what troubleshooting steps were taken.
Level 3 - Technical/Logical Issues - OEM Support Ticket Required - The Technical/Logical Troubleshoot Initiation Form (separate tab) must be filled out in addition to this section.
Is Material in original OEM Packaging? |  | Software or Hardware related? |  | Was issue observed at first power up? |  | After the unit has been operation for awhile? |  | If Yes, for how long?
Is the problem repeatable? |  | Was anything changed in the hardware configuration? |  | If Yes, what was done?
Was IOS reloaded? |  | Was anything changed in the software configuration? |  | If Yes, what was done?
Are there QA Logs? Refer to Logical Troubleshooting tab |  |  | What troubleshooting steps were done before opening the OEM Support Case?
If Yes, please make sure to include logs with this completed form. |  |  | What troubleshooting steps were done during OEM Support Case?
Note on D8: Person Filling out this checklist and the person who discovered the issue.
Note on H8: For the Program/Project
Note on D9: If the issue is not discovered on 1st Shift, Name of 1st Shift Lead/SUP for Program/Project/
Note on H9: For the Program/Project
Note on D10: Examples: Microsoft, Amazon, JPMC, Panerra
Note on H10: L2, L3, or L4
Note on H12: What is the Physical/Systematic location moved to.
Note on G13: The name of the OM for the lab order. Usually listed on Move Order (ATR) paperwork.
Note on N14: This is determined by looking at the Cost Group for the material. - O = WWT Owned - C = Consigned Can find in Components section of an order in MES, PacMan, or directly in WMS.
Note on H18: Examples: HP, Dell, Juniper, NetApp, Cisco
Note on H19: Example: IngramMicro
Note on B20: This section is ONLY required if the Lab has opened an OEM Support (TAC) Case.
Note on B25: Please check ALL the Issue Types that apply. Note: Issue Types are grouped into Level buckets. The Issue Type selected determines which section below should be filled out.
Note on B33: The following sections are group based on the Issue Type with the material, based on what was selected in the previous section of the form. You are only required to fill out the section that is appropriate. Level 0 - Wrong Part --> It is VERY important to take pics of material that was delivered as well as any WWT and OEM labels to help downstream teams. Level 1 - Phyusical Issue/Damage --> This includes scratches, dents, wapred, and other defects. --> Can be entire device (MASTER) or subcompoent of a device (CHILD). --> Make sure to label subcomponent with a RED tag/label for easy ID for downstream teams. --> Make sure to take multiple pics; refer to REMINDER box. Level 2 - Power ON / Green Light Issues --> The entire device (MASTER) or subcomponent (CHILD) will not boot or issue with indicator lights. --> This is a DOA device/part Dead On Arrival. --> Any troubleshooting should be basic, checking physical compoents/connections. Level 3 - Technical / Logical Issues --> The device will boot but will has issues that require interacting with Command Liine. --> Lab can do inital troubleshooting, but make sure to document when an OEM Support case is needed.
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
CHILD part/component
MAIN device/chassis
CHILD part/component
MAIN device/chassis
STANDALONE part/accessory
Hardware
Software
No
Yes
Yes
No
Yes
No
Yes
No
Yes
No
WWT OWNED
CONSIGNED
Yes
No
Yes
No
Yes
No

## NA4 Lab NonCon Checklist
Lab Non-Conformance Checklist |  |  |  |  | Rev. 20
Fill Out Form Completely. This completed form MUST accompany any defective material discovered in WWT lab.
Complete all items prompts
Date Issue Discovered: |  | Lab Personnel: |  | Lab Lead/SUP:
Shift Issue Discovered: |  | Integration Location discovered: |  | CCC number:
WMS ORG: |  | Program: |  | DOA number:
Sales Order (SO): |  |  |  | Work Order (LTO):
Is the issue with the MAIN device/chassis, a CHILD part/component, or STANDALONE part/accessory?
Number Units Affected: |  | LPN(s): |  | Config LPN(s):
DOA Part Number(s): (Main, Child, or Standalone) |  |  |  | DOA Serial Number(s): (even if not Serial Controlled in Oracle)
Issue Type:
Check All That Apply | Reason Code |  | Explanation |  |  | Issue Level
| Part Incorrect |  | Item was received incorrectly, or item inside of box is incorrect (does not match OEM label, kitting is incorrect if supplier requirements are set by WWT, ETC.) |  |  | 0
| Under shipment |  | Part or QTY physically delivered is less than on the packing slip, or carrier lost material, including missing accessories not listed on the packing slip. |  |  | 1
| Packaging |  | MaIN/Child (MxCx) physical or systematic configuration does not match physical packaging |  |  | 1
| Damaged Material |  | Damage indicates evident or possible damage to the contents (Refer to VA-320 / Doc-17242) |  |  | 1
| Lab-Defective |  | The part doesn't boot, works intermittently or doesn't function as intended. |  |  | 2
Must Fill Out the Following:
Level 0 - Wrong Part
REMINDER: If the Issue Type is the Wrong Part, make sure to include photos of the part that was sent, LPN Label, and any OEM Label(s).
Level 1 - Physical Issues/Damage/Missing Material
REMINDER Pictures of Physical Damage SHOULD include: (minimum of 4 pics total) |  |  | - Damage alone (Zoom) and Damage in relation to entire part (Wide) - Any Damage to Packaging (Internal and/or External) - LPN Label on Packaging
Provide as much detail on the problem as possible. ( For example, What is this damage occur? When was the damage noticed?)
Level 2 - Power ON / Green Light Issues
Was the problem observed at first power up? |  | If Yes, Please explain what happened.
Provide as much detail on the problem as possible. Provide as much detail about what troubleshooting steps were taken.
No
Yes
No
MAIN device/chassis
STANDALONE part/accessory
Yes
CHILD part/component
Note on C6: Person Filling out this checklist and the person who discovered the issue.
Note on G6: For the Program/Project
Note on C7: What is the Physical/Systematic location moved to.
Note on C8: Examples: Microsoft, Amazon, JPMC, Panera

## EIC Lab NonCon Checklist
Lab Non-Conformance Checklist | [8 empty] | Rev. 20
References: Please refer to Definitions & Information tab for listing and links of Documentation References. |  |  |  |  | NCT #: (to be filled out by LAB DOA Team)
Fill Out Form Completely. This completed form MUST accompany any specific additional tab forms in this document. |  |  |  |  | GICREQ # (to be filled out by LAB DOA Team)
DO NOT REMOVE ANY MATERIAL PHYSICALLY/SYSTEMATICALLY FROM NC LOCATORS UNLESS YOU HAVE BEEN TOLD TO DO SO ON NCT, SRQ, Salesforce case.
Order Information (Boxes with RED triangle have notes for definitions)
Date Issue Discovered: |  | Lab Personnel: |  |  |  | Lab Lead/SUP:
Shift Issue Discovered: |  | Day Shift Representative: |  |  |  | Lab Engineering Contact: (PE/APE)
WMS ORG: |  | Program: |  |  |  | Lab Department:
Kronos/Timex Project: |  | Sales Order (SO): |  |  |  | MES Flag #
Kronos/Timex Task: |  | Work Order (LTO): |  |  |  | NC Location:
Program Manager (PM): |  |  |  |  | Order Manager (OM):
Is the issue with the MAIN device/chassis, a CHILD part/component, or STANDALONE part/accessory? | [5 empty] | Is material WWT OWNED or CONSIGNED?
Number Units Affected: |  | LPN(s): |  |  |  | Config LPN(s):
DOA Part Number(s): (Main, Child, or Standalone) | [5 empty] | DOA Serial Number(s): (even if not Serial Controlled in Oracle)
MAIN/Chassis Part Number(s): (only required if DOA part is Child/Component) |  |  | MAIN/Chassis Serial Number(s): (only required if DOA part is Child/component) |  |  | OEM (Original Equipment Manufacturer):
Vendor (If Known):
The Below fields should be filled out by the personnel creating the OEM Support (TAC) Case. (EIC - Technician or ENG)
Vendor Case Number: |  |  | Vendor RMA: |  |  | Replacement Tracking #:
The Below fields should be filled out by the personnel creating the NCT. (EIC - Lab Support Team)
Purchase Order (PO): |  |  | Sales Channel:
Issue Type:
Check All That Apply | Reason Code |  | Explanation | [6 empty] | Issue Level
| Part Incorrect |  | Item was received incorrectly, Item inside of box is incorrect ( does not match OEM label, kitting is incorrect if supplier requirements are set by WWT, etc. | [6 empty] | 0
| Under shipment |  | Part or QTY physically delivered is less than on the packing slip, or carrier lost material, including missing accessories not listed on the packing slip. | [6 empty] | 1
| Packaging |  | Main/Child (MxCx) physical or systematic configuration does not match physical packaging | [6 empty] | 1
| Damaged Material |  | Damage indicates evident or possible damage to the contents (Refer to VA-320 / Doc-17242) | [6 empty] | 1
| Lab-Defective |  | The part doesn't boot, works intermittently or doesn't function as intended. | [6 empty] | 2 / 3
Please Fill Out the Following:
Level 0 - Wrong Part
REMINDER: If the Issue Type is the Wrong Part, make sure to include photos of the part that was sent, LPN Label, and any OEM Label(s).
Level 1 - Physical Issues/Damage
Is Material in original OEM Packaging? |  | Was the problem observed Immediately after opening packaging and/or install? |  | Was damage WWT Induced? |  | REMINDER Pictures of Physical Damage SHOULD include: (minimum of 4 pics total) | - Damage alone (Zoom) and Damage in relation to entire part (Wide) - Any Damage to Packaging (Internal and/or External) - LPN Label on Packaging - MFG P/N and SN labels on Material - MFG P/N and SN on Packaging (if available)
Provide as much detail on the problem as possible. ( For example, When/how did this damage occur? i.e. concealed, out of the box - photos of packaging required.)
Level 2 - Power ON / Green Light Issues
Is Material in original OEM Packaging? |  | Is the problem repeatable? |  | Was the problem observed at first power up? |  | If Yes, Please explain what happened.
Is the issue with a MAIN device/chassis or CHILD part/component? |  |  |  | Did the failure occur during a hot swap? |  | If Yes, Please explain what happened.
Provide as much detail about what troubleshooting steps were taken.
Level 3 - Technical/Logical Issues - OEM Support Ticket Required - The Technical/Logical Troubleshoot Initiation Form (separate tab) must be filled out in addition to this section.
Is Material in original OEM Packaging? |  | Software or Hardware related? |  | Was issue observed at first power up? |  | After the unit has been operation for awhile? |  | If Yes, for how long?
Is the problem repeatable? |  | Was anything changed in the hardware configuration? |  | If Yes, what was done?
Was IOS reloaded? |  | Was anything changed in the software configuration? |  | If Yes, what was done?
Are there QA Logs? Refer to Logical Troubleshooting tab |  |  | What troubleshooting steps were done before opening the OEM Support Case?
If Yes, please make sure to include logs with this completed form. |  |  | What troubleshooting steps were done during OEM Support Case?
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
CHILD part/component
MAIN device/chassis
CHILD part/component
MAIN device/chassis
STANDALONE part/accessory
Hardware
Software
No
Yes
Yes
No
Yes
No
Yes
No
Yes
No
WWT OWNED
CONSIGNED
Note on D8: Person Filling out this checklist and the person who discovered the issue.
Note on H8: For the Program/Project
Note on D9: If the issue is not discovered on 1st Shift, Name of 1st Shift Lead/SUP for Program/Project/
Note on H9: For the Program/Project
Note on D10: Examples: Microsoft, Amazon, JPMC, Panerra
Note on H10: L2, L3, or L4
Note on H12: What is the Physical/Systematic location moved to.
Note on G13: The name of the OM for the lab order. Usually listed on Move Order (ATR) paperwork.
Note on N14: This is determined by looking at the Cost Group for the material. - O = WWT Owned - C = Consigned Can find in Components section of an order in MES, PacMan, or directly in WMS.
Note on H18: Examples: HP, Dell, Juniper, NetApp, Cisco
Note on H19: Example: IngramMicro
Note on B20: This section is ONLY required if the Lab has opened an OEM Support (TAC) Case.
Note on B25: Please check ALL the Issue Types that apply. Note: Issue Types are grouped into Level buckets. The Issue Type selected determines which section below should be filled out.
Note on B33: The following sections are group based on the Issue Type with the material, based on what was selected in the previous section of the form. You are only required to fill out the section that is appropriate. Level 0 - Wrong Part --> It is VERY important to take pics of material that was delivered as well as any WWT and OEM labels to help downstream teams. Level 1 - Phyusical Issue/Damage --> This includes scratches, dents, wapred, and other defects. --> Can be entire device (MASTER) or subcompoent of a device (CHILD). --> Make sure to label subcomponent with a RED tag/label for easy ID for downstream teams. --> Make sure to take multiple pics; refer to REMINDER box. Level 2 - Power ON / Green Light Issues --> The entire device (MASTER) or subcomponent (CHILD) will not boot or issue with indicator lights. --> This is a DOA device/part Dead On Arrival. --> Any troubleshooting should be basic, checking physical compoents/connections. Level 3 - Technical / Logical Issues --> The device will boot but will has issues that require interacting with Command Liine. --> Lab can do inital troubleshooting, but make sure to document when an OEM Support case is needed.

## Technical Troubleshoot Form
Technical / Logical Troubleshooting Initiation Form |  |  | Rev. 20
Physically and systematically transfer the gear to the designated Lab Non-Conformance Area for additional troubleshooting. Create a Salesforce case and assign it to the Engineer. Note: The party conducting troubleshooting will be dependent upon the complexity of the issue. Once a Non-Conformance Ticket is deemed necessary and created, the team will submit a SRQ to Non-Conformance Support.
Please fill out the following:
Is the issue a Visual or Functional Defect? | Serial Number:
Which software version was on the unit in which there is an issue? | Was the unit operational for any length of time before the failure?
If yes, for how long?
What was the failure mode/failure symptom? | Which tests were performed at staging?
Which test did the unit fail?
What failure codes were given?
Quality Logs:
Did you run tech support commands?: Cisco Examples: Show run Show tech Show xconnect all
If yes, please attach the support commands ran.
Did you run hardware commands?: Cisco Examples: Show platform Show hw-module fpd
If yes, please attach the hardware commands ran.
Did you run the sysadmin level commands to check hardware driver status? Cisco Examples: Show process sfe_driver location 0/RP0 (Note: this is based on the RP that you are logged into) Show controller sfe driver rack 0 ¦ Show controller fia driver location 0/lc0 Show controller fabric health ¦ Show controller fabric plane all Show controller fabric plane all statistics brief ¦ Show controller fabric plane all statistics detail Show asic-errors Falafel 0 all location 0 ¦RP0 Show asic-errors fia 0 all location 0/0 Show controller fia statistics instance all location 0/LC0 ¦ Show process fsdbagg location 0/RP0 Show process fsdb_server location 0/RP0 ¦ Show process fgid_mgr location 0/RP0
If yes, please attach the sysadmin level commands that were ran.
Were any additional tests or commands run?
If yes, please attach any additional tests or commands that were performed.
Be prepared to conduct additional testing and troubleshooting as requested by the OEM to allow for a replacement if not resolved.
Visual Defect
Functional Defect
Yes
No
Yes
No
Yes
No
Yes
No
Yes
No
Note on A4: Case Type: Rework Department Impacted: Lab Facility Impacted: Building of where the material is physically located. Function Impacted: L3 Powered Services, L4 AC Rack and Stack, or L4 DC Rack and Stack Rework Detail :Troubleshooting Subject: Logical Troubleshooting Needed Case Owner: Supporting Project Engineer Responsibility: Supplier Attach Logical Troubleshooting form as a digital copy to the CCC case during the creation.

## Rack Damage Check
Rack Damage Reporting Form |  |  |  | Rev. 20
Fill Out the Form Completely and turn in to a Lead |  |  | Case Number #:
DO NOT REMOVE ANY MATERIAL FROM NC SUPPORT LANES UNLESS YOU HAVE BEEN TOLD TO DO SO ON THE NCT. Get copy of the signed shipping documents, packing list, and photos.
Who is reporting the damage? |  | Current Address: (What address is the cabinet currently at)
Date Unit Received:
Company Name:
Contact Name: |  | Ship-To Address: (What is the Ship-To-Address on the delivery documents)
Contact E-mail:
Contact Phone #:
Unit Identification:
Program:
Model/SKU Number: |  |  | Serial Number:
Damage and Shipping Information
1. When was the damage identified? | 2. Was the damage noted with the carrier? |  | 3. What packaging was damaged? (Check all that apply)
Damage to Outer Panels (Check all that apply) |  |  | Damage to Frame (Check all that apply)
At delivery
Post-delivery
Yes
No
Cardboard
Plastic Wrap/Cover
Plywood Lower Frame & Brace Protector
a. Roof
b. Upper Left Side Panel
c. Lower Left Side Panel
d. Front Door
e. Right Rear Door
f. Left Rear Door
g. Upper Right Side Panel
h. Lower Right side Panel
i. Upper Left Side Brace
j. Middle Left Side Brace
k. Lower Left Side Brace
l. Front Picture Frame
m. Rear Picture Frame
n. Upper Right Side Brace
o. Middle Right Side Brace
p. Lower Right Side Brace

## Crate Damage Check
Crate Damage Reporting Form |  |  |  | Rev. 20
Fill Out the Form Completely and turn in to a Lead |  |  | Case Number #:
DO NOT REMOVE ANY MATERIAL FROM NC SUPPORT LANES UNLESS YOU HAVE BEEN TOLD TO DO SO ON THE NCT. Get copy of the signed shipping documents, packing list, and photos.
Who is reporting the damage? |  | Current Address: (What address is the cabinet currently at)
Date Unit Received:
Company Name:
Contact Name: |  | Ship-To Address: (What is the Ship-To-Address on the delivery documents)
Contact E-mail:
Contact Phone #:
Unit Identification:
Model/SKU Number:
Program:
Damage and Shipping Information
1. Was the damage noted with the carrier?
2. What was damaged? (Check all that apply)
Upon receipt of crate in outbound lanes, inspect exterior and door for deformities and bulging, especially around base clips and edges.
Damage over 1” in diameter or damage to door is unacceptable and must be rejected, see Figure 1 and 2.
Panel separation of over 3/8” as shown in figure 3 is unacceptable and must be rejected.
Inspect interior of crate enclosure for damage and deformity to enclosure walls
Inspect foam bracing on interior walls of enclosure for damage. If more than 3” of foam is missing or damaged, crate is unacceptable and must be rejected. Figure 4.
Using a tape measure and technician standing on opposite side of crate base inspect each side at the corner for height variation of no more than 1 /4” as shown in Figure 5.
Inspect rack base for board separation or twisting of blocks. Any board separation or twisting over 10 degrees, as shown in figure 6, is unacceptable and must be rejected.
Inspect foam blocks on crate base for damage. If damage over 1/2” is found, crate is unacceptable and must be rejected. See Figure 7.
Fit enclosure to base, align latch pockets as shown in figure 8, and inspect latches for correct fit or damage. If latches are damaged, loose or not centered notify Lead or Supervisor.
Figure 4
Figure 5
Figure 6
Figure 7
Figure 8
Figure 3
Damaged Door
Damaged Door
Height Variation
Panel Separation
Damaged Latches
Damaged Foam Blocks
Damaged Rack Base
Interior Damage
Damaged Interior Foam Bracing
No
Yes

## Sheet2
Shift | Department | Rev 20
1st Shift | L2
2nd Shift | L3
3rd Shift | L4
AWS